**PUBLIC WORKS**

**November (10/22-11/20)**

**Water**

* Changed out 26 dead registers
* City hall work orders; 106 completed
* Replaced 2” meter at Mineola Senior Citizen Community
* Fixed Sewer main hit by C&C boring contactors at 150 Pat Drive
* Greased and maintained backhoe on Kubota mini excavator
* Changed oil on company trucks and performed weekly inspections
* Ran sewer main for sewer stoppage at 203 Pamela
* Pulled meter log for 121 W. Broad
* Ran sewer trouble spots
* Started locating water and sewer lines on Park Place for C&C boring contractors; Peoples fiber
* Pulled pump #2 at Kevin and made sure it was not stopped
* Fixed ¾” water service line that got hit by C&C contractors at 1804 Park Place; replaced saddle and a 16” piece of copper line
* Located water and sewer lines for SWEPCO at 8 different locations
* Located water and sewer lines for Red Underground at 506 Meadowbrook boring under the road
* Changed out chlorine bottle at McKaig well, replaced tubing as well
* Changed top bearing oil on well/booster pump motors and greased them
* Located sewer line for possible new sewer tap at 509 N Line, also camera sewer service line for customer, let them know roots found on their side
* Flushed end lines for the month of November
* Ran and cleared sewer service line for sewer stoppage at the Donut King
* Topped off company vehicles such as trucks, backhoe, mini excavators for possible bad weather, generators were also topped off and exercised
* Located water and sewer lines for Stubbs contractor at Lackland Place, Ivey St, Inwood St, CR 2500, CR 2501, 1201 W Broad, 810 Ivey St to Graham St, intersection of Graham and Ivey to Welch St; Peoples Fiber
* Fixed 2” water leak at 911 FM 1254
* Ran and cleared sewer clean out for sewer stoppage at 180 Minwood St, clean outs were missing caps; installed new sewer clean out caps
* Dug up and installed flush valve for brown water complaint at 6106 Fm 1254, flushed line and talked to customer after problem was resolved
* Read meters for the month of November; 112 manual reads
* Met with Mr. Paul Priddy and checked for water/sewer availability on lots at 600 block of Hogg St, corner of Hogg and Turman, and the corner of Second St and Edwards
* Located sewer line behind 516 N Pacific for Centerpoint Energy; killing gas service line
* Fixed 6” water main at 304 Stone St, St. Paul Missionary Baptist Church
* Locate multiple locations for Steen Double S contractor; Peoples fiber
* Checked for leak at 218 N Line, water was coming from 111 W Blair, water hose was left on and let the customer know
* Emergency water and sewer locate for Centerpoint Energy on The North side of 516 Patten due to gas leak